F10 Disinfectants/Antiseptics – Reference Test Register

| Test ref no. | Test certificate no. /date | Test description - testing body - test standard and (pass criteria) - micro organisms tested | F10 CL | F10 SC (super concentrate) | Contact Time |
| --- | --- | --- | --- | --- | --- |
| THHa0001 | n/a | South African Inst Medical Research (SAIMR) SABS 636 (1971) (99,9% kill) Mycobacterium terrae | 1:25 | 1:125 | 30 minutes |
| THHa0002 | n/a | Medical and Pharmaceutical Services (MPS) AFNOR NF T 72-170 (1988) (4 log reduction) Spectrum 5 bactericidal activity with interfering substances: P. aeruginosa, E.coli, S. aureus, Enterococcus faecium, Mycobacterium smegmatis | 1:40 | 1:200 | 5 minutes |
| THHa0003 | n/a | MPS AFNOR NF T 72-151 (1987) (4 log reduction) Spectrum 5 bactericidal activity P. aeruginosa, E.coli, S. aureus, Enterococcus faecium, Mycobacterium smegmatis: | 1:100 | 1:500 | 5 minutes |
| THHa0004 | n/a | MPS AFNOR NF T 72-150 (1987) (4 log reduction) Spectrum 5 bactericidal activity P. aeruginosa, E.coli, S. aureus, Enterococcus faecium, Mycobacterium smegmatis | 1:100 | 1:500 | 5 minutes |
| THHa0005 | n/a | MPS AFNOR NF T 72-200 (1987) (4 log reduction) Fungicidal activity: Penicillium verrucosum, Cladosporium cladosporoides, Absidia corymbifera, Candida albicans | 1:100 | 1:500 | 15 minutes |
| THHa0006 | n/a | MPS AFNOR NF T 72-180 (1986) (4 log reduction) Virucidal activity: Enterovirus, Orthopoxvirus, Adenovirus , HIV | 1:40 | 1:200 | 30 minutes |
| THHa0007 | 1994/03/01 531/82355/L0376 | South African Bureau of Standards (SABS) SABS 636 (1971) (99,9%) E.coli, P. aeruginosa, S. aureus | 1:100 | 1:500 | 5 minutes |
| THHa0008 | 1994/04/13 | Veterinary Institute, Onderstepoort: Canine parvovirus (>log 3 reduction) | 1:25 | 1:125 | 30 minutes |
| THHa009 | 1994/04/19 | MPS Frosner, Jentsch and Ultheman (1982) Biocidal activity: Hepatitis B | 1:25 | 1:125 | 15 minutes |
| THHa0010 | 1994/04/19 | MPS AFNOR NF T 72-151 (1987) (4 log reduction) Leptospira, Campylobacter, Legionella | 1:100 | 1:500 | 5 minutes |
| THHa0011 | 1994/04/20 | MPS Summary of results plus toxicity, corrosion and biodegradability tests. |  |  |  |
| THHa00012 | 1994/05/06 | aa Newcastle Disease Virus, Feline Herpes Virus (inactivation = Chlorox) | 1:100 | 1:500 | 30 minutes |

| Test ref no. | Test certificate no. /date | Test description - testing body - test standard and (pass criteria) - micro organisms tested | F10 CL | F10 SC (super concentrate) | Contact Time |
| --- | --- | --- | --- | --- | --- |
| THHa0013 | 1994/06/30 531/82533/L1574 | SABS SABS 636 (1971) (99,9%) Acinetobacter anitratus | 1:100 | 1:500 | 5 minutes |
| THHa0014 | 1994/11/11 | Eurostar Technology EU requirements Ecological impact | zero hazard | zero hazard | continuous dosing |
| THHa0015 | 1994/12/09 | Univ of Pretoria, Faculty Vet Science Dept Poultry Diseases IBD virus (complete inactivation) | 1:50 | 1:250 | 20 minutes |
| THHa0016 | 1995/02/13 | Eurostar Technology Toxicity results: Oral and dermal LD50, Ocular irritation, Draize test | 1:25 nil 4 & 2 | 1:125 | 2700mg/kg 1 & 24 hrs |
| THHa0016.a | 1994-12-15 | Eurostar Technology Acute Oral Toxicity Tests- SUPERCEDED BY THHa 114 | 1:25 | 1:125 | LD50 2700- 3500mg/kg |
| THHa0016.b | 1994-12-15 | Eurostar Technology Acute Dermal Toxicity Tests- SUPERCEDED BY THHa 115 | 1:50 | 1:250 | LD50>4000mg/ kg |
| THHa0016.c | 1995-01-11 | Eurostar Technology Ocular Irritation Tests (Draize Test)- SUPERCEDED BY THHa117 | 1:50 | 1:250 | Score 4 at 1hr; 2 at 24hrs |
| THHa0017 | 1995/04/10 531/82879/M0620a | SABS SABS 636 (1971) (99,9%) S. aureus (methicillin resistant) | 1:100 | 1:500 | 5 minutes |
| THHa0018 | 1995/06/13 531/82946/M1026a | SABS SABS 636 (1971) (99,9%) E.coli (HO157) | 1:100 | 1:500 | 5 minutes |
| THHa0019 | 1995/12/13 | Univ of Pretoria, Faculty Vet Science Dept Poultry Diseases Ornithobacterium rhinotracheale (av 96,3%) | 1: 100 | 1:500 | 20 minutes |
| THHa0020 | 1996/01/08 531/83218/M2778e | SABS Kelsey Sykes Modified (5 clear tubes) Bacillus subtilis spores | 1:30 | 1:150 | 30 minutes |
| THHa0021 | 1996/04/15 1995/11/22 531/83218/M2778a | SABS SABS 636 (1971) (99,9%) Aspergillus niger | 1:50 | 1:250 | 30 minutes |
| THHa0022 | 1997/07/07 | South African Vaccine Producers (SAIMR) SABS 671 (1975) Primary Skin Irritation Test | 1: 50 0 score | 1:250 0 score | 24 & 48 hrs on intact and abraded skin |
| THHa0023 | 1997/07/11 2388/764861/P1806a | SABS SABS 636 (1971) “speed trials” (99,9%) P. aeruginosa S aureus | 1:100 | 1:500 | 60 seconds 30 seconds |
| THHa0024 | 1998/01/03 | Eurostar Technology Inhalation toxicity - acute and chronic | nil | nil |  |
| THHa0025 | 1998/01/04 | Eurostar Technology Residuals on fruit and vegetables | from <0.1 to | <0.5 | ppm / cm2 |
| THHa0026 | 1998/04/01 2388/953611/Q907 | SABS SABS 636 (1971) (99,9%) Trichophyton mentagrophytes | 1:100 | 1:500 | 15 minutes |
| THHa0027 | 1998/10/08 | Eurostar Technology Residual properties F10 and Chlorhexidene | = | = |  |
| THHa0028 | 1998/11/19 5447/1066950/Q2542 | SABS SABS 509 Kelsey-Sykes (5 clear tubes) P. aeruginosa - dirty conditions (5% yeast) | 1:40 | 1:200 | 8 + 10 min |

| Test ref no. | Test certificate no. /date | Test description - testing body - test standard and (pass criteria) - micro organisms tested | F10 CL | F10 SC (super concentrate) | Contact Time |
| --- | --- | --- | --- | --- | --- |
| THHa0029 | 1999/02/04 1066950/S155 | SABS Biocidal test (bacteriostatic test) E.coli, P. aeruginosa, Klebsiella sp. | 5 ppm | 1 ppm | 5 minutes |
| THHa0030 | 1999/02/24 5447/1066950/R3632a | SABS SABS 636 (1971) (99,9%) Proteus vulgaris | 1:100 | 1:500 | 5 minutes |
| THHa0031 | 1999/03/02 5538/1192518/S5 | SABS SABS1221 (no discolouration, pitting or etching) Aluminium corrosion test | 1: 6,6 | 1:33 | 24+24 hrs 24+120 hrs |
| THHa0032 | 1999/03/16 5447/1066950/S846 | SABS BS EN standard 1276 (1997) (105 log) P. aeruginosa, E.coli, S. aureus, Enterococcus hirae | 1:100 | 1:500 | 5 minutes |
| THHa0033 | 1999/03/20 5447/1066950/S1183a | SABS pr EN standard 1276 (1997) (105 log) Clean and dirty conditions @ 10°C and 20°C P. aeruginosa, E.coli, S. aureus, Enterococcus hirae | Clean 1:100 Dirty 1:100 Clean 1:100 Dirty 1:100 | 1:500 1:500 1:500 1:500 | 5 minute @ 20°C 5 minutes @ 10°C <5 |
| THHa0034 | 1999/03/16 5447/1066950/S779 | SABS BS EN standard 1040 (1997) (105 log) P. aeruginosa, S. aureus | 1:100 | 1:500 | 5 minutes |
| THHa0035 | 1999/03/18 5447/1066950/S779a | SABS: pr EN standard 1657 (1994) (104 log) Candida albicans | 1: 100 | 1:500 | 30 minutes |
| THHa0036 | 1999/05/18 EEF000028D | SAIMR SABS 636 (1971) (99,9%) Salmonella typhi, Vancomycin resistant Enterococcus faecalis, Streptococcus pyogenes, Vibrio cholera | 1:100 1:200 1:200 1:200 | 1:500 1:100 1:1000 1:1000 | 60 seconds 60 seconds 60 seconds 60 seconds |
| THHa0037 |  | See THHf1 |  |  |  |
| THHa0038 |  | See THHf2 |  |  |  |
| THHa0039 |  | See THHf3 |  |  |  |
| THHa0040 |  | See THHf4 |  |  |  |
| THHa0041 |  | See THHf5 |  |  |  |
| THHa0042 | 1999/07/22 EEF00027X | SAIMR SABS 636 (1971) (99,9%) Listeria monocytogenes | 1:100 1:200 | 1:500 1:1000 | 30 seconds 60 seconds |
| THHa0043a | 1997/12/18 | Glaxowelcome SABS S. epidermidis, P. cepacia, Micrococcus luteus, Salmonella abony, Klebsiella pneumoniae, Corynebacterium xerosis, C. albicans, Bacillus subtilis spores | 1:25 | 1:125 | Spores 1 hour |

| Test ref no. | Test certificate no. /date | Test description - testing body - test standard and (pass criteria) - micro organisms tested | F10 CL | F10 SC (super concentrate) | Contact Time |
| --- | --- | --- | --- | --- | --- |
| THHa0043b | 1999-12 | Glaxowelcome SABS S. epidermidis, P. aeruginosa, P. (Burkholderia) cepacia, Micrococcus luteus, Salmonella abony, Citrobacter freundii, enterobacter sakazakii, Klebsiella pneumoniae, E. coli, Corynebacterium xerosis, C. albicans, Bacillus subtilis spores, Enterobacter cloacae, A. niger | 1:25 | 1:125 | Spores 60 minutes |
| THHa0044 | 2000-02-15 5447/1066950/ S4314a | SABS SABS 1593 (1954) Corrosiveness (6.10) Rinsing properties (6.11) Water insoluble matter content (6.12) Storage stability (6.13) | 1:20 1:20 | 1:5 1:5 | passes passes 0,3g/l passes passes |
| THHa0045 | 2000-03-27 5447/1066950/T5323 | SABS Minimum Inhibitory Concentration (MIC) S. aureus P. aeruginosa | between 1:6553/ 13,107 1: 102/ 204 | between 1:32768/6 5,536 1:512/ 1024 | 22 for 48 hrs |
| THHa0046 | 2000-04-13 | Clover SA Inhibitory Substances Screening Test B. stearothermophilus | 1:50 | 1:250 | 3 hrs @ 63 Dilutions with milk of 1:20 upwards are negative |
| THHa0047 | 2000-02-01 5447/1066950/T879 | SABS Giescke, WH. Van Den Heever, LW. (1971) Udder disinfectant P. aeruginosa, S. aureus | 1:50 | 1:250 | 0.5, 1, and 2.5 minutes |
| THHa0048 | 1997-11-27 cross ref THHd2 | SAIMR SABS 671 (1975) Primary Skin Irritation Test | 1:25 0 score | 1:125 0 score | 24 & 48 hrs on intact and abraded skin |
| THHa0049 | 2000-03-06 5447/1066950/T3081-2 | SABS SABS 636 (1971) (99,9%) P. aeruginosa | 1:100 | 1:500 | 1 year stability test |
| THHa0050 | 2000-03-06 5447/1066950/T3081-2 | SABS SABS 636 (1971) (99,9%) P. aeruginosa | 1:100 | 1:500 | 2 year stability test |
| THHa0051 | 2000-02-24 DT/fm HH09/00 cross ref THHa16 | Eurostar Technology Oral and topical toxicity (LD50) | >5000 mg/kg | >5000 mg/kg | as sold product concentrate |
| THHa0052 | 1994-11-16 | Rainbow Farms, Hammersdale Lab Malthus 2000 Analyser E.coli strain of avian origin | 1:300 | 1:1500 | 15 minute contact |
| THHa0053 | 1995-03-23 531/82881/M0634 | SABS Effect of irradiation on bactericidal activity P. aeruginosa | 1:100 | 1:500 | No diminution of performance at levels from 4kGy to 25kGy |
| THHa0054 | 2000-05-30 558/2000 | Poultry Reference Laboratory Newcastle Disease Virus | 1:100 | 1:500 | Complete in- activation in 20 minutes |

| Test ref no. | Test certificate no. /date | Test description - testing body - test standard and (pass criteria) - micro organisms tested | F10 CL | F10 SC (super concentrate) | Contact Time |
| --- | --- | --- | --- | --- | --- |
| THHa0055 | 2000-06-08 624/2000 | Poultry Reference Laboratory Newcastle Disease Virus | 1:100 | 1:500 | Complete in- activation in 10 minutes |
| THHa0056 | 2000-05-04 | ARC- Onderstepoort Veterinary Institute Rabies Unit - Rabies Virus | Between 1:150 - 1:300 Between 1:100 - 1:150 | Between 1:750 - 1:1500 Between1: 500 - 1:750 | Complete in- activation @ 20°C Complete in- activation @ 10°C |
| THHa0057a | 2000-07-18 | ARC - Animal Improvement Institute Skin sensitivity trial-Highveld winter conditions, using F10 SC as an udder wash | 1: 50 | 1:250 | No sensitivity - zero score |
| THHa0057b | 2000-07-18 | See THHaa5 |  |  |  |
| THHa0058 | 2000-10-10 | Poultry Reference Laboratory Infectious Bursal Disease Virus (IBD) | 1: 50 | 1:250 | Complete in- activation in 20 minutes |
| THHa0058b | 2000-11-02 | SABS SABS 636(1971) P.aeruginosa | 1:100 1:200 1:300 | 1:20 1:40 1:60 | 5 min & 10 min Tests done at 22C and 45C |
| THHa0059 |  | See THHf6 |  |  |  |
| THHa0060 | 2001-01-08 | Keymed – Compatibility of F10 Disinfectant Solution with Olympus Flexible Endoscopes | - | - | Use in UK Market |
| THHa0061 | 2001-01 | See THHf7 |  |  |  |
| THHa0062 | 2001-01-10 | See THHg1 – F10 SC FMD Disinfectant |  |  |  |
| THHa0063 | 2000-05-08 5447/1066950/926 /T5930 | SABS SABS 1593 (1994): Disinfectants based on Glutaraldehyde for use on medical instruments - Kelsey Sykes (modified) test using B. subtilis spores | 1:20 | 1:100 | Clean test: 5 clear tubes in 1 hour |
| THHa0064 | 2001-03-23 | See THHf9 - Fitosan |  |  |  |
| THHa0065 |  | See THHg2 – F10 SC FMD Disinfectant |  |  |  |
| THHa0066 |  | See THHg3 – F10 SC FMD Corrosion |  |  |  |
| THHa0067 |  | See THHg4 – F10 SC FMD Corrosion |  |  |  |
| THHa0068 | 1733791/00-1316/U8139 2001-06-06 | SABS SABS 636(1971) (99.9%) S aureus | 1:50 | 1:250 | > 99.9% kill of S. aureus within 15 sec |
| THHa0069 |  | See THHf10 - Fitosan |  |  |  |
| THHa0070 |  | See THHg5 – F10 SC FMD Corrosion |  |  |  |
| THHa0071 | 2001-09-28 | Univ. of Pretoria – Faculty of Biological & Agricultural Science. F10 SC as a mist spray at 125ppm Aspergillus fumigatus | 1:1600 | 1:8000 | No spore germination on plate, even after 5 days |
| THHa0072 | 2002-01-28 1733791/02- 00211/V1391 | SABS SABS 636 (1971) (99,9%) Pasteurella multocida | 1:100 | 1:500 | 5 min Passed |
| THHa0073 | 2001-07-01 | Dr I.M. Petzer (U.P Faculty of Veterinary Science) Field Trial Pseudo-cowpox (See also THHh3) | 1:50 | 1:250 | 27 day Supervised trial 1.2% re- infection |

| Test ref no. | Test certificate no. /date | Test description - testing body - test standard and (pass criteria) - micro organisms tested | F10 CL | F10 SC (super concentrate) | Contact Time |
| --- | --- | --- | --- | --- | --- |
| THHa74 | 2002-12-17 1733791/02/V16507-12a | SABS Clostridium sporogenes SATCC C1 29 | 1:50 | 1:250 | % kill: 10 min - 94.4% 20 min – 98% |
| THHa0075 | 2003-09-03 1733791/03- 04526/W11421-26 | SABS SABS 636 (1971) (99.9%) Pseudomonas Aeruginosa | 1:50 | 1:250 | Ready to use solution tested over a 6 month period without fall in efficiency performance. |
| THHa0076 | 2003-09-01 | Eurostar Technology Limited Chemical incompatibility between aldehyde products and F10 solutions. | - | - | F10 Solution is incompatible with any aldehyde based products and will result in reddish brown deposits on instruments / surfaces. |
| THHa0077 | 2003-03-03 1733791/03-00352/ W1643-45A | SABS SABS 636 (1971) (99.9%) Pseudomonas Aeruginosa | 1:100 | 1:500 | Stability tests on batches from 2001, 2002, 2003 – all comply. |
| THHa0078 | 2003-10-21 7316/1954332/W4204 A | SABS 636 Corrosion test for Mark Scheme | 1:100 | 1:500 | F10SC Passes |
| THHa0079 | 2003-10-21 7316/1954332/W4203 A | SABS 636/639 Efficacy and corrosion test for Mark Scheme | 1:100 | 1:500 | F10SCXD Passes |
| THHa0080 | 2004-02-16 1733791/04-273 /X20316 | SABS SANS 636-2001 Salmonella choleraesuis typhimurium ATCC 13311 Sal 12 | 1:100 | 1:500 | > 99.9 % kill in 2 minutes |
| THHa0081a THHa0081b | 2004-03-26 1733791/03-04526 /W11421-26 1733791/05-0234 /X50945 | SABS SANS 1615-1994 Pseudomonas aeruginosa SATCC Psc 16 SABS SANS 1615-1994 Pseudomonas aeruginosa SATCC Psc 16 | 1:50 1:50 | 1:250 1:250 | > 99.9 % kill in 2 min and 5 min Tested every month over a 24 month period. Samples stored at 37°C throughout. 99.9% kill in 2 min and 5 min of 2 year old retention sample. |
| THHa0082 | 2004-11-02 1212/04 | Micro Laboratory, Karachi, Pakistan Cocktail of gram positive and gram negative bacteria. | 1:200 | 1:1000 | Log 7 reduction in 5 minutes. |

| Test ref no. | Test certificate no. /date | Test description - testing body - test standard and (pass criteria) - micro organisms tested | F10 CL | F10 SC (super concentrate) | Contact Time |
| --- | --- | --- | --- | --- | --- |
| THHa0083 | 2004-06-16 Lab Ref. No. 607 | K & Ns Poultry Disease Diagnostic & Research Institute FDA/BAM Bactericidal Activity Poultry pathogenic strain of E. Coli Staphylococci Pseudomonas C. albicans | 1:100 | 1:500 | Complete inhibition |
| THHa0084 | 2004-11-05 1733791/04-472 /X21367 | SABS SANS 636-2001 Trichophyton mentagrophytes | 1:50 | 1:250 | 99.9% kill in 10 minutes. |
| THHa0085 | 2005-02-04 1733791/04-2186 /X31628a | SABS EN 13704-2002 Bacillus subtilis spores | 1:20 | 1:100 | 99.9% kill in 5 minutes. |
| THHa0086 | 2005-02-04 1733791/04-2186 /X31628b | SABS EN 1650-1997 Aspergillus niger spores | 1:20 | 1:100 | 99.9% kill in 5 minutes. |
| THHa0087 | 2005-02-04 1733791/04-2186 /X31628c | SABS EN 13697-2001 Aspergillus niger spores | 1:20 | 1:100 | 99.99% kill in 5 minutes. |
| THHa0088 | 2005-02-04 1733791/04-3294 /X38022-3 | SABS EN 13704-2002 Bacillus subtilis spores | 1:20 | 1:100 | 99.99% kill in 5 minutes. |
| THHa0089a | 2005-03-24 1733791/ 04-5 /X18434 | SABS Simulating cleaning and disinfection cycles a) Utilising an ultrasonic bath in the cleaning cycle. Bacillus subtilis spores | 1:20 | 1:100 | 99.999% kill in in total elapse time of 12 minutes (Refer THHa85). |
| THHa0089b | 2005-03-24 1733791/ 04-6307 /W 18008 / 9a | SABS Simulating cleaning and disinfection cycles b) Utilising a mechanical agitator in the cleaning cycle. Bacillus subtilis spores | 1:20 | 1:100 | 99.999% kill in in total elapse time of 12 minutes (Refer THHa85). |
| THHa0090 | 2004-12-30 1733791/04-2747 /X34736/40 | SABS Staphylococcus epidermidis using a commercial pressurised aerosol can (average droplet size, 26 microns) | 1:20 | 1:100 | 99.999% kill in 10 minutes (no survivors) |
| THHa0091 | 2005-03-09 | University of Pretoria Department of Veterinary Tropical Diseases, Onderstepoort. Use of F10SC on superficial tissues (fibroblast-like cells) on skin and open wounds. Bovine dermis cells | 1:400 | 1:2000 | 30 seconds – cells unaffected. 5 minutes – 50% cells remain viable. NB: After 24hrs results unchanged. |
| THHa0092 | 2005-02-14 | Onderstepoort Veterinary Institute Avian Influenza Virus (H5N2 HPAI) | 1:100 | 1:500 | 10 minutes complete inactivation |
| THHa0093 | 2006-10-05 2425/06-2312/A117007 | SABS Microsporum canis | 1:50 | 1:250 | 99,9% kill in 10 minutes |

| Test ref no. | Test certificate no. /date | Test description - testing body - test standard and (pass criteria) - micro organisms tested | F10 CL | F10 SC (super concentrate) | Contact Time |
| --- | --- | --- | --- | --- | --- |
| THHa0094 | 2423/529/A101797 A | SABS AOAC hard surface carrier test – 60 carriers per batch. 3 batches tested. Salmonella choleraesuis ATCC 10708 | 1:50 | 1:250 | 10 minutes contact time, initial load 1 – 5 x 106 cfu/ml. Pass criteria n m th 1 positive in every batch of 60 carriers, i.e. n m th 3 positive in 180 carriers. |
| THHa0095 | 2423/529/A101797 B | SABS AOAC hard surface carrier test – 60 carriers per batch. 3 batches tested. Staphylococcus aureus ATCC 6538 | 1:50 | 1:250 | 10 minutes contact time, initial load 1 – 5 x 106 cfu/ml. Pass criteria n m th 1 positive in every batch of 60 carriers, i.e. n m th 3 positive in 180 carriers. |
| THHa0096 | 2423/529/A101797 C | SABS AOAC hard surface carrier test – 60 carriers per batch. 3 batches tested. Pseudomonas aeruginosa ATCC 15442 | 1:50 | 1:250 | 10 minutes contact time, initial load 1 – 5 x 106 cfu/ml. Pass criteria n m th 1 positive in every batch of 60 carriers, i.e. n m th 3 positive in 180 carriers. |
| THHa0097 | 2005-11-07 2593541/05-2365/Y67793 | SABS Bactericidal Efficacy of F10SC Disinfectant in an Ultrasonic Humidifier Pseudomonas aeruginosa SATCC Pse 16 | 1:100 | 1:500 | 100% kill in 5 minutes |
| THHa0098 | 2005-11-07 2593541/05-2365/Y67793a | SABS Bactericidal Efficacy of F10SC Disinfectant in Ultrasonic Vapour Stream Pseudomonas aeruginosa SATCC Pse 16 | 1:50 | 1:250 | 100% kill in 10 minutes |
| THHa0099 | 2006-10-12 2525/06-2312/A117007b | SABS SANS 636-2001 Microsporum canis | 1:50 | 1:250 | 100% kill in 10 minutes |
| THHa0100 | 2007-06-25 2425/07-0970/B140445 | SABS SANS 636-2001 Clostridium difficile ATCC 43593 | 1:25 1:50 | 1:125 1:250 | 99.9% kill in 10 minutes 99.9% kill in 30 minutes |

|  |  | Test description |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Test ref no. | Test certificate no. /date | - testing body - test standard and (pass criteria) - micro organisms tested | F10 CL | F10 SC (super concentrate) | Contact Time |
| THHa0101 | 2003-10-06 | SABS | 1:100 | 1:500 | 5 min |
|  | 7212/1954332/03- | 636 (2001) (>99.9% kill) |  |  |  |
|  | 5034/W10123 | P. aeruginosa, E.coli, S. aureus |  |  |  |
| THHa0102 | 2006-04-24 | SABS 1853 Mark Scheme –F10SCXD | 1:100 | 1:500 | 5 min |
|  | 2425/06-0674/A98605 | 1853 (2001) (>99.9%) |  |  |  |
|  |  | P. aeruginosa, E.coli, S. aureus |  |  |  |
| THHa0103 | 2006-10-10 | SABS | 1:50 | 1:250 | 99,9% kill in |
|  | 2425/06-2312/A117007a | Microsporum canis |  |  | 10 minutes |
| THHa0104 | 2007-02-01 | SABS | 1:100 | 1:500 | 5 min |
|  | 2425/07-3308/B127217 | SANS 636 (2001) (>99.9%) |  |  | Mixture of |
|  |  |  |  |  | F10SC(1:250) |
|  |  |  |  |  | and Mentofin |
|  |  |  |  |  | (1:1000) |
| THHa0105 | 2007-06-18 | SABS | 1:100 | 1:500 | 5 min |
|  | 2425/07-1043-/B141226 | SANS 636 (2001) (>99.9%) |  |  |  |
|  |  | E.coli (Disease Control Africa local isolate) |  |  |  |
| THHa0106 | 2007-10-29 | SABS | 1:50 | 1:250 | 5 min |
|  | 2425/07-2313/B155427 | SANS 636 (2001) (>99.9%) |  |  | Testing for |
|  |  | P. aeruginosa, .coli, S. aureus |  |  | SANS 1853 |
| THHa0107 | 2007-10-29 | SABS | 1:50 | 1:250 | 5 min |
|  | 2425/07-2313/B155428 | SANS 639 (2001) (>99.9%) |  |  | F10SCXD |
|  |  | P. aeruginosa, .coli, S. aureus |  |  | testing for |
|  |  |  |  |  | SANS 1853 |
| THHa0108 | 2007-11-26 | SABS | 1:50 | 1:250 | 5 min |
|  | 2425/07-2272/B154937 | SANS 1615 (1995) (>99.9%) |  |  | F10SC 1:250 |
|  |  | P. aeruginosa |  |  | Saline (F10SC |
|  |  |  |  |  | Antiseptic |
|  |  |  |  |  | Solution) |
| THHa0109 | 2008-08-25 | SABS | 1:100 | 1:500 | 5 min |
|  | 2425/08-1118/C180918 | SANS 636 -2001 (>99.9%) |  |  | F10SC testing |
|  |  | P aeruginosa, E.coli, S. aureus |  |  | for SANS 636- |
|  |  |  |  |  | 2001 |
| THHa0110 | 2008-10-17 | SABS | 1:100 | 1:500 | Various |
|  |  | SANS 639—2001 |  |  | F10SCXD Vet |
|  |  | Chemical Tests for Mark Scheme |  |  | testing for |
|  |  |  |  |  | For SANS 639 |
| THHa0111 | 2008-12-19 | SABS | 1:20 | 1:100 | 30 min |
|  | 2425/08-2665/C203473 | SANS 636-2001 |  |  | 99.9% |
|  |  | B. subtilis (>99.9%) |  |  | 30 minutes |
| THHa0112 | 2009-07-28 | SABS | 1:100 | 1:500 | 5 min |
|  | 2425/09-30/D226499 | SANS 636-2009 (>99.9%) |  |  | F10SC Testing |
|  |  | P aeruginosa, E.coli, S. aureus |  |  | for SANS 636- |
|  |  |  |  |  | 2009 |

| Test ref no. | Test certificate no. /date | Test description - testing body - test standard and (pass criteria) - micro organisms tested | F10 CL | F10 SC (super concentrate) | Contact Time |
| --- | --- | --- | --- | --- | --- |
| THHa0113 | 2009-02-26 | Veterinary Laboratories Agency UK – DEFRA tests using egg culture method at 40 C in dirty conditions |  |  | 1:9 (GO) 1:35 (DoP, AI&IAOM) |
|  | 2015-02-02 VO4/15 (2) | University of Pretoria, Dept of Veterinary Tropical Diseases, Virology Laboratory DEFRA NDV test 4 0 C in clean conditions using tissue culture method |  | 1:100 | No survivors |
|  | 4 March 2015 VO4/15 B | University of Pretoria, Dept of Veterinary Tropical Diseases, Virology Laboratory DEFRA NDV test 4 0 C in dirty conditions using tissue culture method |  | 1:100 | No survivors |

| THHa0114 | 12 July 2006 A34/01/06 | US Environmental Protection Agency Acute Oral Toxicity, OPPT 870.1100 Lab-Bio Research | 1:500 | 1:100 | (Cat.IV >5000mg/kg) |
| --- | --- | --- | --- | --- | --- |
| THHa0115 | 26 February 2009 HH-0042-2009 | US Environmental Protection Agency Acute Dermal Toxicity OPPTS 870.1200 Lab-Bio Research | 1:500 | 1:1 1:100 | Cat IV >5000mg/kg Cat 4 >5000mg/kg |
| THHa0116 | 20 March 2008 HH-0017-2008 | US Environmental Protection Agency Acute Dermal Irritation OPPTS 870.2500 Lab-Bio Research | 1:500 | 1:1 1:100 | Cat IV No irritation Cat 4 No irritation |
| THHa0117 | 18 March 2007 HH-0001-2007 | US Environmental Protection Agency Acute Eye Irritation OPPTS 870.2400 Lab-Bio Research | 1:500 | 1:100 | Cat IV No irritation |
| THHa0118 | 23 March 2009 HH-0028-2008 | US Environmental Protection Agency Acute Inhalation Toxicity OPPTS 870.1300 Lab-Bio Research | 1:500 | 1:1 1:100 | Cat IV >20mg/litre Cat IV >20mg/litre |
| THHa0119 | 31 January 2009 HH-0022-2008 | US Environmental Protection Agency Skin Sensitization OPPTS 870.2600 Lab-Bio Research | 1:500 | 1:1 1:100 | Not a sensitizer Not a sensitizer |
| THHa0120 | 5 March 2007 HH-0002-2007 | US Environmental Protection Agency Acute Eye Irritation OPPTS 870.2400 Lab-Bio Research | 1:5 | 1:1 | Cat lll Slight irritation |

| Test ref no. | Test certificate no. /date | Test description - testing body - test standard and (pass criteria) - micro organisms tested | F10 CL | F10 SC (super concentrate) | Contact Time |
| --- | --- | --- | --- | --- | --- |
| THHa0122 | HH-0004-2007 HH-0005-2007 | US Environmental Protection Agency Acute Dermal Irritation OPPTS 870.2500 Acute Eye Irritation OPPTS 870.2400 Acute Oral Toxicity, OPPT 870.1100 Acute Dermal Toxicity OPPTS 870.1200 Lab-Bio Research |  | 1:50 1:50 1:50 1:50 | Cat IV No irritation Cat IV No irritation Cat IV >5000mg/kg Cat IV >5000mg/kg |
| THHa122b | 4 June 2007 HH-01-10-2006 | US Environmental Protection Agency Acute Dermal Irritation OPPTS 870.2500 | 1:10 |  | Cat IV No irritation Cat IV No irritation Cat IV >5000mg/kg Cat IV >5000mg/kg |
|  |  | Acute Eye Irritation OPPTS 870.2400 | 1:10 |  |  |
|  |  | Acute Oral Toxicity, OPPT 870.1100 | 1:10 |  |  |
|  |  | Acute Dermal Toxicity OPPTS 870.1200 Lab-Bio Research | 1:10 |  |  |
| THHa00123 | 6 March 2012 B341/2012 | University of Pretoria DVTD Bacteriology Laboratory Zone of Inhibition Sensitivity Test Mycoplasma gallisepticum NCTC 10115 | 1:80000 | 1:16000 | 72 hours |
| THHa0124 | 7 February 2012 2423/11-F947 | SABS Pharmaceutical Microbiology Department EPA Sanitizer Test - AOAC Method Dirty conditions (Min 99.9% reduction at 5 mins) Pseudomonas aeruginosa ATCC 15492 |  | 1:200 | F10SCXD Kill 99.9972% At 5 mins |
| THHa0125 | 30 January 2012 2423/11-F947 | SABS Pharmaceutical Microbiology Department EPA Sanitizer Test -AOAC Method Dirty conditions (Min 99.9% reduction at 5 mins) Staphylococcus aureus ATCC 6538 Enterobacter aerogenes ATCC 13048 |  | 1:200 1:200 | F10SCXD Kill 99.99997% at 5 mins Kill 99.968% at 5 mins |
| THHa0126 | 11 September 2012 V09/12 | University of Pretoria, Dept of Veterinary Tropical Diseases, Virology Laboratory EPA Virucides Test Method PIS/TSS-7 Canine parvovirus | 1:20 | 1:100 | 15 mins |
| THHa0127 | 7 December 2012 | University of Pretoria |  | 1:125 | 9.89mm |
|  | B2050/2112 | Methicillin resistant S. pseudintermedius |  | 1:250 | 8.39mm |
|  |  | sensitivity against F10SC Veterinary |  | 1:500 | 8.17mm |
|  |  | Disinfectant (Zone of inhibition) |  | 1:1000 | 6.99mm |
| THHa0128 | 20 February 2015 VO4/15 (2) | University of Pretoria, Dept of Veterinary Tropical Diseases, Virology Laboratory DEFRA NDV test 4 0 C in clean conditions using tissue culture method |  | 1:100 | No survivors |
| THHa0129 | 4 March 2015 VO4/15 B | University of Pretoria, Dept of Veterinary Tropical Diseases, Virology Laboratory DEFRA NDV test 4°C in dirty conditions using tissue culture method |  | 1:100 | No survivors |
| THHa0130 | 13 December 2019 5695 | Citrus Research International on behalf of University of Pretoria Veterinary Onderstepoort Campus F10SC tested against P.lalicinus, |  | 1 : 250 | Not stated |

| Test ref no. | Test certificate no. /date | Test description - testing body - test standard and (pass criteria) - micro organisms tested | F10 CL | F10 SC (super concentrate) | Contact Time/ Result |
| --- | --- | --- | --- | --- | --- |
| THHa0131 | IanE 23 March 2020 | Noted Water hardness effect on F10 disinfectant efficacy under EN 1364 and EN13727 which are carried out using a water hardness of 250 ppm |  | 1 : 550 To 1:100 | No adverse effect |
| THHa0132 | 2 June 2020 Ref 11088381 (Batch 220441) | M & L Laboratory Services (Pty) Ltd Test method SANS 51276 (EN1276). Pass criteria of 5 decimal log reduction Enterococcus hirae ATCC10541 Escherichia coli ATCC10536 Pseudomonas aeruginosa ATCC 15442 Staphylococcus aureus ATCC6538 M & L Laboratory Services (Pty) Ltd Test method SANS 51650 (EN1650). Pass criteria of 4 decimal log reduction Candida albicans ATCC10231 Aspergillus brasiliensis ATCC16404 M & L Laboratory Services (Pty) Ltd Test method SANS 53704 (EN13704). Pass criteria of 3 decimal log reduction Bacillus subtilis ATCC 6633 |  | 1: 500 1: 250 1:100 | Passed by killing 99.999% at a 5 minute contact time Passed by killing 99.99% at a 15 minute contact time Passed by killing 99.9% at a 30 minute contact time |
| THHa0133 | 2 June 2020 Ref 11088381 (Batch 220431) | M & L Laboratory Services (Pty) Ltd Test method SANS 51276 (EN1276). Pass criteria of 5 decimal log reduction Enterococcus hirae ATCC10541 Escherichia coli ATCC10536 Pseudomonas aeruginosa ATCC 15442 Staphylococcus aureus ATCC6538 M & L Laboratory Services (Pty) Ltd Test method SANS 51650 (EN1650). Pass criteria of 4 decimal log reduction Candida albicans ATCC10231 Aspergillus brasiliensis ATCC16404 M & L Laboratory Services (Pty) Ltd Test method SANS 53704 (EN13704). Pass criteria of 3 decimal log reduction Bacillus subtilis ATCC 6633 |  | F10 SCXD Disinfectant 1: 500 1: 250 1:100 | Passed by killing 99.999% at a 5 minute contact time Passed by killing 99.99% at a 15 minute contact time Passed by killing 99.9% at a 30 minute contact time |
| THHa0134 | 10 November 2019 Lab Ref: TAD 19/F10SC R&D | Agricultural Research Council – Onderstepoort Veterinary Institute African Swine Fever Virus (ASFV) LUS 93/1 |  | 1:100 | Passed by demonstrating a > log4 reduction at 30 minutes contact time. |
| THHa0135 | 3 September 2020 BT-HAH-02 | BluTest Laboratories Ltd - EN 14476:2013 + A2:2019 EU standard. (This includes all enveloped viruses as well as all coronaviruses and SARS-CoV-2) - 4 Log reduction pass criteria - Vaccinia virus VR-1549 Elstree strain (P7) |  | 1:250 | Passed by demonstrating a log5 reduction at 5 minutes contact time |
| Test ref no. | Test certificate no. /date | Test description - testing body - test standard and (pass criteria) micro organisms tested | F10 CL | F10 SC (Super Concentrate) | Contact Time/Result |
| THHa0136 | 3 December 2020 BT-HAH-02 | BluTest Laboratories Ltd - EN 13610: - 4 Log reduction pass criteria - Lactococcus lactis subsp. lactis P001 DSM 4262 - Lactococcus lactis subsp. lactis P008 DSM 10567 |  | 1:500 | Passed by demonstrating a log4 reduction at 30 minutes contact time |
| THHa0137 | 14 September 2022 | Magalies Water Scientific Services Giardia and Cryptosporidium test Combination of EN 1276 (SANS 51276) and USEPA 1623 Giardia lamblia H3 and Cryptosporidium parvum lowa |  | 1:100 | No Detection after 60 min contact time |
| THHa0138 | 17 February 2023 | M&L Laboratory Service (Pty) Ltd Enterococcus hirae ATCC 10541 Escherichia coli ATCC 10536 Pseudomonas aeruginosa ATCC 15442 Staphylococcus aureus ATCC 6538 |  | 1:500 1:1000 1:1500 | The product tested at a dilution of 1:500; 1:1000; 1:1500 complied with the criteria indicated under the "Pass Requirements" of SANS 51276:2011 (EN 1276) standard (obligatory conditions) which requires at least a 99.999% kill (5 log reduction). |
| THHa0139 | 8 September 2023 | M&L Laboratory Service (Pty) Ltd Enterococcus hirae ATCC 10541 Proteus hauseri ATCC 13315 Pseudomonas aeruginosa ATCC 15442 Staphylococcus aureus ATCC 6538 |  | 1:250 1:100 | The product tested at 1: 100 and 1:250 with a 3 minutes contact time "Pass Requirements" of EN 1656 standard obligatory conditions (20°C for low and high soiling conditions) which requires at least a 99.999% kill (5 log reduction). |

| Test ref no. | Test certificate no. /date | Test description - testing body - test standard and (pass criteria) micro organisms tested | F10 CL | F10 SC (Super Concentrate) | Contact Time/Result |
| --- | --- | --- | --- | --- | --- |
| THHa0140 | 19 February 2024 | SABS SANS 1853:2020 Pseudomonas aeruginosa ATCC 15442 Escherichia coli ATCC 10536 Staphylococcus aureus ATCC 6538 Enterococcus hirae ATCC 10541 |  | 1:250 1:500 | The product tested at a dilution of 1:250 and 1:500 complied with the criteria indicated under the “Pass requirements” of SANS 51276:2021 (obligatory conditions, 5 minutes contact time at 20°C) which requires at least a 99.999% kill (5 log reduction). |
| THHa0141 | 12 February 2024 | SABS SANS 1853:2020 Pseudomonas aeruginosa ATCC 15442 Escherichia coli ATCC 10536 Staphylococcus aureus ATCC 6538 Enterococcus hirae ATCC 1 054 | 1:50 1:100 1:200 |  | The product tested at a dilution of 1:50 and 1:100 complied with the criteria indicated under the “Pass requirements” of SANS 51276:2021 (obligatory conditions, 5 minutes contact time at 20°C) which requires at least a 99.999% kill (5 log reduction). |
| THHa0142 | 5 October 2020 | SABS SANS 636-2013 Pseudomonas aeruginosa ATCC 15442 Escherichia coli ATCC 8739 Staphylococcus aureus ATCC 6538 |  | 1:500 | The product tested at a dilution of 1:500 complied with the criteria indicated under the “Pass requirements” of SANS 636:2013 section 5.2 which requires at least a 99.9% kill (3 log reduction) within 5 minutes contact time. |